## Slide 1
Dependable refrigeration system with high power, rapid cooling capability, efficient internal air circulation, and consistent temperature maintenance for the preservation of food.
Temperature controls and display digitally integrated with an automatic defrost mechanism.
A robust, self-contained system featuring stainless steel exteriors and interiors, a coated evaporator coil, and an oversized compressor mounted on the side.
A robust refrigeration system, built with sturdy stainless steel, ensures enduring durability and reliability. Crafted with precision, it withstands daily use while enhancing the aesthetic appeal of any space. With a focus on excellence, it maintains optimal cold storage conditions, preserving perishable goods with the highest standards of quality and freshness.
Address: 7 El Esraa Street Off Lebanon Street, Mohandeseen, Giza, Egypt
Tel: (+20)1000028820
Fax: (+202)33039336
All major components are of EU origin and CE Certified. In line with policy to continually develop and improve its products, UNIVEST reserves the right to change dimensions, specifications, and design at any time without prior notice.
Upright Freezer
www.univest.com.eg
KEY FEATURES
DESCRIPTION
ADDITIONAL FEATURES
Heavy duty stainless steel adjustable legs
High efficiency polyurethane foam insulation
Self-closing doors mechanism
Silicon rubber gasket for tight sealing
Available with multiple door orientations
INSTALLATION
Installations must be in accordance with all local electrical systems, particularly the minimum wire gauge needed for field connection and ventilation supply.
Project:____________ Item #:____________ Quantity:_____________

## Slide 2
TECHNICAL SPECIFICATIONS |  |  |  |  | 
Model | FR1T-01-SD | FR1T-01-DD | FR1T-02-SD | FR1T-02-TD | FR1T-02-QD
Dimensions (W x D x H) | 70 x 80 x 200 cm | 70 x 80 x 200 cm | 170 x 80 x 200 cm | 170 x 80 x 200 cm | 170 x 80 x 200 cm
Temperature Range | -18°C – 0°C | -18°C – 0°C | -18°C – 0°C | -18°C – 0°C | -18°C – 0°C
Number of Doors | 1 | 2 | 2 | 3 | 4
Capacity | 700 l | 700 l | 1400 l | 1400 l | 1400 l
Refrigerant | R 404 | R 404 | R 404 | R 404 | R 404
Compressor Power | 0.5 hp | 0.5 hp | 1.5 hp | 1.5 hp | 1.5 hp
Voltage | 220 V/1 Ph | 220 V/1 Ph | 220 V/1 Ph | 220 V/1 Ph | 220 V/1 Ph
Frequency | 50 Hz | 50 Hz | 50 Hz | 50 Hz | 50 Hz
Address: 7 El Esraa Street Off Lebanon Street, Mohandeseen, Giza, Egypt
Tel: (+20)1000028820
Fax: (+202)33039336
All major components are of EU origin and CE Certified. In line with policy to continually develop and improve its products, UNIVEST reserves the right to change dimensions, specifications, and design at any time without prior notice.
PRODUCT VIEWS & DIMENSIONS
www.univest.com.eg
Project:____________ Item #:____________ Quantity:_____________
Front
Side
Top
Upright Freezer